## Total
# | Reference | Description | Qty | Price for standart, unit in € | Description of modification price | Price for modification, unit in € | Price, €
STRUCTURAL
| Q-0835-A3 |  |  |  |  | 0 | 0
| Q-0844-P3 |  |  |  |  | 0 | 0
| Q-1044-P3 |  |  |  |  | 0 | 0
| Q-1054-P3 |  |  |  |  | 0 | 0
| C-1465-A3 |  |  |  |  | 0 | 0
| C-3678-F7 |  |  |  |  | 0 | 0
| CABMINWLEWH07B | vessel Q0717 blue |  |  |  | 0 | 0
| CABE35WLHAZ10B | vessel Q1035 blue |  |  |  | 0 | 0
| CABE35WLHAZ08B | vessel Q0835 blue |  |  |  | 0 | 0
| A-2752-2C | 4" -> 2 1/2" |  |  |  | 0 | 0
FLECK
| V900SI-002 | 9000 / 1600 SE 3/4" METER |  |  |  |  | 0
| V900SI-002 | 9000 / 1600 SE 3/4" METER |  |  |  |  | 0
| V900SI-002 | 9000 / 1600 SE 3/4" METER |  |  |  |  | 0
| V910SI-002 | 9100 / 1600 SE 3/4" METER |  |  |  |  | 0
| V910SI-002 | 9100 / 1600 SE 3/4" METER |  |  |  |  | 0
| V560SC-001 | 5600 / 1600 SE |  |  |  |  | 0
| V560SR-001 | 5600 / 1600 SE / 3/4" METER |  |  |  |  | 0
| V560SR-001 | 5600 / 1600 SE / 3/4" METER |  |  |  |  | 0
| V560SR-001 | 5600 / 1600 SE / 3/4" METER |  |  |  |  | 0
| V275MC-001 | 2750 / 1600 SE 1" METER |  |  |  |  | 0
| V285MC-005 | 2850 / 1600 SE 1 ½" METER |  |  |  |  | 0
| V285MC-005 | 2850 / 1700 SE 1 ½" METER |  |  |  |  | 0
| V950SI-013 | 9500 / 1700 SE 1 ½" METER |  |  |  |  | 0
| V285MC-005 | 2850 / 1600 SE |  |  |  |  | 0
| V285MC-005 | 2850 / 1600 SE |  |  |  |  | 0
| V31TMC-012 | 3150 / 1800 / TM |  |  |  |  | 0
| V31TMC-012 | 3150 / 1800 / TM |  |  |  |  | 0
| V291NC-002 | 2910 / 1710 NT NBP |  |  |  |  | 0
| 28295 | Kit 2" METER NT (plastic) |  |  |  |  | 0
| V291NC-002 | 2910 / 1710 NT NBP |  |  |  |  | 0
| A-3650-ТМ | [5 empty] | 0
| A-2527-F6 | [5 empty] | 0
| A-2536-F6 | [5 empty] | 0
Fleck Accessories
| P/N 18706-10-B24 | 1" BSP male plastic |  |  |  |  | 0
| P/N 18979-B5 | A.C. 900 |  |  |  |  | 0
| S/A 28076 | Meter assy 1in1/2 Electronic 9500 |  |  |  |  | 0
| S/A 18392 | Meter assy 1in1/2 Electronic 2850/2900/2910 |  |  |  |  | 0
| 28284 | Kit 1"1/2 METER NT |  |  |  |  | 0
| S/A 18509 | Meter assy 1in1/2 Standard (40 m3) 9500 |  |  |  |  | 0
| P/N 27827-B24 | 1" high flow 1m10 |  |  |  |  | 0
| P/N 25645-B24 | 1" high flow 1m95 |  |  |  |  | 0
| P/N 28137-24 | Kit copper tubes 2nd tank adapter - 24" |  |  |  |  | 0
BRINE TANKS AND ACCESSORIES
Brine Tanks
| E02330 | blue cover 100 lt. |  |  |  |  | 0
| E02400 | white cover 150 lt. |  |  |  |  | 0
| E02500 | white cover 200 lt. |  |  |  |  | 0
| E02600 | white cover 300 lt. |  |  |  |  | 0
| E02640 | white cover 520 lt. |  |  |  |  | 0
| E02050 | Round black tank, black cover, with grid and floating valve |  |  |  |  | 0
Salt Grids
| E02394 | height 90 mm for 100 lt. Tank |  |  |  |  | 0
| E02492 | height 220 mm for 150 lt. Tank |  |  |  |  | 0
| E02592 | height 220 mm for 200 lt. tank |  |  |  |  | 0
| E02692 | height 300 mm for 300 lt. tank |  |  |  |  | 0
| E02642 | height 300 mm for 520 lt. tank |  |  |  |  | 0
Brine Wells
| E02390 | Ø100 mm. for 100 lt. tank |  |  |  |  | 0
| E02490 | Ø100 mm. for 150 lt. tank |  |  |  |  | 0
| E02590 | Ø100 mm. for 200 lt. Tank |  |  |  |  | 0
| E02690 | Ø160 mm. for 300-520 lt. tank |  |  |  |  | 0
Accessories
| CABCOVEUHAZ | EURO azur HP |  |  |  |  | 0
| P/N 15131 | Back Plate 9000/9100/9500 |  |  |  |  | 0
| S/A 18050 | Second Tank Adapter assy 9500 |  |  |  |  | 0
| P/N 16455-01 | O'ring 560 CD |  |  |  |  | 0
| P/N 13577-01 | O'ring 560 CD Distributor Tube |  |  |  |  | 0
| KIT 17 | Top Distributor 2in & pin assy 9500 (KIT 8 x 2) |  |  |  |  | 0
| S/A 60626-01 | Meter assy 3/4in Turbine 4600/5000/5600/8500 SE |  |  |  |  | 0
| E01480 | Flexible tubing 3/8" hank 30 mt.(price per meter) |  |  |  |  | 0
| E01200 | Barbed end 1/2" |  |  |  |  | 0
| 23517 | Tubing 1/2 in (Roll of 50 m) |  |  |  |  | 0
| P/N 15246-01 | O'ring 560 CD |  |  |  |  | 0
| S/A 27836 | Brine Valve Repair Kit 1800 |  |  |  |  | 0
| S/A 26754 | Brine Valve 1800 assy 3150/3900 |  |  |  |  | 0
| S/A 16498-01 | Brine Valve Stem Guide assy |  |  |  |  | 0
| P/N 17224 | O'ring |  |  |  |  | 0
| S/A 28115-01 | Drive Motor assy 2510/2750/2850/2900/2910 24V Down Flow |  |  |  |  | 0
| S/A 26953 | Adapter Base assy 2510 |  |  |  |  | 0
| S/A 27024 | Clamp assy 2510 |  |  |  |  | 0
| P/N 27017 | Pivot Clamp 2510/4200 |  |  |  |  | 0
| P/N 19197 | Slip Ring 2510 |  |  |  |  | 0
| P/N 18303-01 | O'ring Top of Tank |  |  |  |  | 0
| P/N 13304-01 | O'ring 560 CD |  |  |  |  | 0
| P/N 13030 | O'ring Retainer for Residential Valve |  |  |  |  | 0
0

## 2510-Std
2510 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY :
H | Elbow & 560 CD seals |  | H | r 50 Hz
r Manual valve
| 1-FAMILY: 2510 |  |  | 11-POWER CORD :
|  |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 2-VALVE TYPE : Down Flow |  |  | r Less
12-MISCELLANEOUS OPTIONS :
| 3-REGENERATION : |  | H | r Less
| r Time clock 7 days |  |  | r Auxiliary microswitch | General price list
H | r Time clock 12 days
| r Econominder delayed |  |  | 13-INJECT0R :
| r Econominder immediate |  | H | r 0 r 1 r 2 r 3
| r Manual (Go to question 6) |  |  | PVC : r 0 r 1 r 2 r 3 | General price list
4-TIMER :
H | r Mechanical |  |  | 14-DLFC (GPM) :
| r Electronic ET |  | H | r 1,2 r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic SE |  |  | r Blank | General price list
| r Less | General price list |  | r Less | General price list
5-METER :
| r Less |  |  | 15-BLFC (GPM) :
H | r 3/4" - 8 m3 |  | H | r 0,25 r 0,50 r 1,0
| r 3/4" - 40 m3 | General price list |  | r Blank
r 3/4" - Electronic (ET)
| r 3/4" - Electronic (Turbine SE) |  |  | 16-LABEL : Pictogram
| 6-PISTON : |  |  | 17-TOP DISTRIBUTOR :
H | r Standard |  | H | r Standard softener - 0,28 mm slots
| r NBP | General price list |  | r Narrow slotted - 0,20 mm slots
|  |  |  | r Less | General price list
| 7-BRINE VALVE : |  |  | 18-COLOR : (Cover)
| r Less | General price list | H | r Grey
H | r 1650 |  |  | r Blue
r black
8-MIXING : N/A
19- COMMENTS :
9-VOLTAGE :
H | r 24 Volts
r Manual valve

## 2510-PULSE
2510 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 2510 |  |  | 11-POWER CORD :
|  |  | H | r Terminal strip | General price list
r Transformer 230/24 V
| 2-VALVE TYPE : Down Flow |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | 13-INJECT0R :
|  |  | H | r 0 r 1 r 2 r 3
| PULSE |  |  | PVC : r 0 r 1 r 2 r 3 | General price list
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  | H | r 1,2 r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic ET |  |  | r Blank | General price list
| r Less | General price list |  | r Less | General price list
| 5-METER : N/A |  |  | 15-BLFC (GPM) :
|  |  | H | r 0,25 r 0,50 r 1,0
r Blank
| 6-PISTON : |  |  | 16-LABEL : Pictogram
H | r Standard
| r NBP | General price list |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : |  |  | r Less | General price list
| r Less | General price list
H | r 1650 |  |  | 18-COLOR : (Cover)
|  |  | H | r Grey
r Blue
r black
8-MIXING : N/A
19- COMMENTS :
9-VOLTAGE : 24 Volts

## 2510-FILTRE
2510 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY :
H | 560 CD seals |  | H | r 50 Hz
r Manual valve
1-FAMILY: 2510
11-POWER CORD :
| 2-VALVE TYPE : Filter | General price list |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
r Less
3-REGENERATION :
| r Time clock 7 days |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Time clock 12 days |  | H | r Less
| r Econominder delayed |  |  | r Auxiliary microswitch | General price list
r Econominder immediate
| r Manual (Go to question 6) |  |  | 13-INJECT0R : N/A
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  | H | r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic ET |  |  | r 9,0 r 10 r 12 r 15 | General price list
| r Electronic SE |  |  | r Blank | General price list
| r Less | General price list |  | r Less | General price list
| 5-METER : |  |  | 15-BLFC (GPM) : N/Z
H | r Less
r 3/4" - 8 m3
| r 3/4" - 40 m3 | General price list |  | 16-LABEL : Pictogram
r 3/4" - Electronic (ET)
r 3/4" - Electronic (Turbine SE)
| 6-PISTON : |  |  | 17-TOP DISTRIBUTOR :
H | r Standard |  | H | r Standard filter - 0,50 mm slots
| r NBP | General price list |  | r Less | General price list
| 7-BRINE VALVE : N/A |  |  | 18-COLOR : (Cover)
|  |  | H | r Grey
r Blue
| 8-MIXING : N/A |  |  | r black
| 9-VOLTAGE : |  |  | 19- COMMENTS :
r 24 Volts
r Manual valve

## 2750-Std
2750 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY :
H | Elbow & 560 CD seals |  | H | r 50 Hz
r Manual valve
1-FAMILY: 2750
11-POWER CORD :
| 2-VALVE TYPE : |  |  | r Power cord without plug | General price list
H | r Down Flow |  | H | r Transformer 230/24 V
| r Up Flow (except manual valve)) | General price list |  | r Less
| 3-REGENERATION : |  |  | 12-MISCELLANEOUS OPTIONS :
| r Time clock 7 days |  | H | r Less
H | r Time clock 12 days |  |  | r Nickel plating | General price list
| r Econominder delayed |  |  | r Auxiliary microswitch | General price list
| r Econominder immediate |  |  | r Hot water (except Up flow, eco ET & eco SE) | General price list
| Duplex system 5 r 6 r 7 r | General price list
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
| r Manual (Go to question 6) |  | H | 1600/1650 r 0 r 1 r 2 r 3
|  |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
| 4-TIMER : |  |  | 1700 : r 3C r 4C
H | r Mechanical
| r Electronic ET |  |  | 14-DLFC (GPM) :
| r Electronic NT |  | H | r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic SE |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| r Less | General price list |  | r Less | General price list
| 5-METER : |  |  | 15-BLFC (GPM) :
| r Less |  | H | 1600/1650 r 0,25 r 0,50 r 1
H | r 3/4" - 8 m3 |  |  | 1600/1650 r Blank
| r 3/4" - 40 m3 | General price list |  | 1700 : r 1,2 r 2,0
r 1" - 20 m3
| r 1" - 100 m3 | 9,63 € |  | 16-LABEL : Pictogram
r 1" - Electronic
17-TOP DISTRIBUTOR :
| 6-PISTON : |  | H | r Standard softener - 0,28 mm slots
H | r Standard |  |  | r Narrow slotted (except hot water) - 0,20 mm slots
| r NBP (except Up Flow) | General price list |  | r Less | General price list
| 7-BRINE VALVE : |  |  | 18-COLOR : (Cover)
| r Less | General price list | H | r Grey
H | r 1600 |  |  | r Blue
| r 1700 |  |  | r black
| 8-MIXING : N/A |  |  | 19- COMMENTS :
9-VOLTAGE :
r 24 Volts
r Manual valve
Tank Park : order O'ring 12570

## 2750-PULSE
2750 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | r Terminal strip | General price list
r Transformer 230/24 V
| 1-FAMILY: 2750 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
| 2-VALVE TYPE : |  |  | r Nickel plating | General price list
H | r Down Flow |  |  | r Auxiliary microswitch | General price list
| r Up Flow | General price list |  | r Hot water (except Up flow & econominder ET) | General price list
| 3-REGENERATION : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
|  |  | H | 1600/1650 r 0 r 1 r 2 r 3
| PULSE |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
1700 : r 3C r 4C
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  | H | r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic ET |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| r Less | General price list |  | r Less | General price list
| 5-METER : N/A |  |  | 15-BLFC (GPM) :
|  |  | H | 1600/1650 r 0,25 r 0,50 r 1
1600/1650 r Blank
| 6-PISTON : |  |  | 1700 : r 1,2 r 2,0
H | r Standard
| r NBP (except Up Flow) | General price list |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : |  |  | 17-TOP DISTRIBUTOR :
| r Less | General price list | H | r Standard softener - 0,28 mm slots
H | r 1600 |  |  | r Narrow slotted (except hot water) - 0,20 mm slots
| r 1700 |  |  | r Less | General price list
18-COLOR : (Cover)
|  |  | H | r Grey
| 8-MIXING : N/A |  |  | r Blue
r black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz
Tank Park : order O'ring 12570

## 2750-Filtre
2750 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY :
H | 560 CD seals |  | H | r 50 Hz
r Manual valve
1-FAMILY: 2750
11-POWER CORD :
| 2-VALVE TYPE : Filter | General price list |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 3-REGENERATION : |  |  | r Less
r Time clock 7 days
H | r Time clock 12 days |  |  | 12-MISCELLANEOUS OPTIONS :
| r Econominder delayed |  | H | r Less
| r Econominder immediate |  |  | r Nickel plating | General price list
| Duplex system 5 r 6 r 7 r | General price list |  | r Auxiliary microswitch | General price list
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | r Hot water (except eco ET & eco SE) | General price list
r Manual (Go to question 6)
13-INJECT0R : N/A
4-TIMER :
H | r Mechanical |  |  | 14-DLFC (GPM) :
| r Electronic ET |  | H | r 2,4 r 3,5 r 5,0 r 7,0
| r Electronic NT |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| r Electronic SE |  |  | r Less | General price list
| r Less | General price list
15-BLFC (GPM) : N/A
5-METER :
H | r Less
| r 3/4" - 8 m3 |  |  | 16-LABEL : Pictogram
| r 3/4" - 40 m3 | General price list
r 1" - 20 m3
| r 1" - 100 m3 | General price list |  | 17-TOP DISTRIBUTOR :
| r 1" - Electronic |  | H | r Standard filter - 0,50 mm slots (except hot water 0,28)
|  |  |  | r Less | General price list
6-PISTON :
H | r Standard |  |  | 18-COLOR : (Cover)
| r NBP | General price list | H | r Grey
r Blue
| 7-BRINE VALVE : N/A |  |  | r black
8-MIXING : N/A
19- COMMENTS :
9-VOLTAGE :
r 24 Volts
r Manual valve
Tank Park : order O'ring 12570

## 2850-Std
2850 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY :
H | Elbow & 560 CD seals |  | H | r 50 Hz
r Manual valve
1-FAMILY: 2850
11-POWER CORD :
| 2-VALVE TYPE : Down Flow |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 3-REGENERATION : |  |  | r Less
r Time clock 7 days
H | r Time clock 12 days |  |  | 12-MISCELLANEOUS OPTIONS :
| r Econominder delayed |  | H | r Less
| r Econominder immediate |  |  | r Nickel plating | General price list
| Duplex system 5 r 6 r 7 r | General price list |  | r Auxiliary microswitch | General price list
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | r Hot water (except eco ET & eco SE) | General price list
r Manual (Go to question 6)
13-INJECT0R :
| 4-TIMER : |  | H | 1600/1650 r 0 r 1 r 2 r 3
H | r Mechanical |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
| r Electronic ET |  |  | 1700 : r 3C r 4C
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 3,5 r 5,0 r 7,0
r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0
| 5-METER : |  |  | r Less | General price list
r Less
| r 1" - 20 m3 |  |  | 15-BLFC (GPM) :
| r 1" - 100 m3 | General price list | H | 1600/1650 r 0,50 r 1
| r 1" - Electronic (ET only) |  |  | 1600/1650 r Blank
H | r 1"½ - 40 m3 |  |  | 1700 : r 1,2 r 2,0 r 4,0 r 5,0
| r 1"½ - 200 m3 | General price list
| r 1"½ - Electronic |  |  | 16-LABEL : Pictogram
| 6-PISTON : |  |  | 17-TOP DISTRIBUTOR :
H | r Standard |  | H | r 2" Standard
| r NBP | General price list |  | r Less | General price list
| 7-BRINE VALVE : |  |  | 18-COLOR : (Cover)
| r Less | General price list | H | r Grey
H | r 1600 |  |  | r Blue
| r 1700 |  |  | r black
| 8-MIXING : N/A |  |  | 19- COMMENTS :
9-VOLTAGE :
r 24 Volts
r Manual valve

## 2850-PULSE
2850 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | r Terminal strip | General price list
r Transformer 230/24 V
1-FAMILY: 2850
| 2-VALVE TYPE : Down Flow |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 3-REGENERATION : |  |  | r Auxiliary microswitch | General price list
|  |  |  | r Hot water (except econominder ET ) | General price list
PULSE
13-INJECT0R :
|  |  | H | 1600/1650 r 0 r 1 r 2 r 3
| 4-TIMER : |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
H | r Mechanical |  |  | 1700 : r 3C r 4C
r Electronic ET
| r Less | General price list |  | 14-DLFC (GPM) :
|  |  | H | r 3,5 r 5,0 r 7,0
| 5-METER : N/A |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0
|  |  |  | r Less | General price list
| 6-PISTON : |  |  | 15-BLFC (GPM) :
H | r Standard |  | H | 1600/1650 r 0,50 r 1
| r NBP | General price list |  | 1600/1650 r Blank
1700 : r 1,2 r 2,0 r 4,0 r 5,0
| 7-BRINE VALVE : |  |  | 16-LABEL : Pictogram
| r Less | General price list
H | r 1600
| r 1700 |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r 2" Standard
|  |  |  | r Less | General price list
| 8-MIXING : N/A |  |  | 18-COLOR : (Cover)
|  |  | H | r Grey
r Blue
| 9-VOLTAGE : 24 Volts |  |  | r black
19- COMMENTS :
10-FREQUENCY : 50 Hz

## 2850-FILTRE
2850 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 9-VOLTAGE :
H | 560 CD seals |  | H | r 24 Volts
r Manual valve
| 1-FAMILY: 2850 |  |  | 10-FREQUENCY :
|  |  | H | r 50 Hz
| 2-VALVE TYPE : Filter | General price list |  | r Manual valve
| 3-REGENERATION : |  |  | 11-POWER CORD :
| r Time clock 7 days |  |  | r Power cord without plug | General price list
H | r Time clock 12 days |  | H | r Transformer 230/24 V
| r Econominder delayed |  |  | r Less
r Econominder immediate
| Duplex system 5 r 6 r 7 r | General price list |  | 12-MISCELLANEOUS OPTIONS :
| r Systemax 7 r 9 r ( #9 One meter per valve) |  | H | r Less
| r Manual (Go to question 6) |  |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 4-TIMER : |  |  | r Hot water (except econominder ET & SE) | General price list
H | r Mechanical
| r Electronic ET |  |  | 13-INJECT0R : N/A
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 5,0 r 7,0
r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0
| 5-METER : |  |  | r 30,0 | General price list
H | r Less |  |  | r 35,0 | General price list
| r 1" - 20 m3 |  |  | r Less | General price list
| r 1" - 100 m3 | General price list
| r 1" - Electronic (ET only) |  |  | 15-BLFC (GPM) : N/A
r 1"½ - 40 m3
| r 1"½ - 200 m3 | General price list |  | 16-LABEL : Pictogram
r 1"½ - Electronic
17-TOP DISTRIBUTOR :
| 6-PISTON : |  | H | r 2" Standard
H | r Standard |  |  | r Less | General price list
| r NBP | General price list
18-COLOR : (Cover)
|  |  | H | r Grey
| 7-BRINE VALVE : N/A |  |  | r Blue
r black
| 8-MIXING : N/A |  |  | 19- COMMENTS :

## 2900-Std
2900 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 8-MIXING : N/A
H | Elbow & 560 CD seals
9-VOLTAGE : 24 Volts
1-FAMILY: 2900
10-FREQUENCY : 50 Hz
2-VALVE TYPE :
H | r Down Flow |  |  | 11-POWER CORD :
| r Up Flow | General price list |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
3-REGENERATION :
| r Time clock 7 days |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Time clock 12 days |  | H | r Less
| r Econominder delayed |  |  | r Nickel plating | General price list
| r Econominder immediate |  |  | r Auxiliary microswitch | General price list
| Duplex system 5 r 6 r 7 r | General price list |  | r Hot water (except Up flow, eco ET & eco SE) | General price list
r Systemax 7 r 9 r ( #9 One meter per valve)
13-INJECTOR : (Up Flow : with pressure regulator)
| 4-TIMER : |  | H | 1600/1650 r 3
H | r Mechanical |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
| r Electronic ET |  |  | 1700 r 3C r 4C r 5C r 6C
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 3,5 r 5,0 r 7,0
|  |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| 5-METER : |  |  | r Less | General price list
r Less
| r 1"½ - Brass 40 m3 |  |  | 15-BLFC (GPM) :
| r 1"½ - Brass 200 m3 | General price list | H | 1600/1650 r 0,50 r 1
| r 1"½ - Brass Electronic |  |  | 1700 : r 1,2 r 2,0 r 4,0 r 5,0
H | r 2" - Brass 75 m3
| r 2" - Brass 375 m3 | General price list |  | 16-LABEL : Pictogram
r 2" - Brass Electronic
| r 2" - Plastic* 75 m3 | General price list |  | 17-TOP DISTRIBUTOR :
| r 2" - Plastic* 375 m3 | General price list | H | r 2" Standard
| r 2" - Plastic* Electronic | General price list |  | r Less | General price list
* Not applicable on duplexes 6 & 7
| 6-PISTON : |  |  | 18-COLOR : (Cover)
H | r Standard WBP |  | H | r Grey
| r NBP |  |  | r Blue
r black
| 7-BRINE VALVE : |  |  | 19- COMMENTS :
| r Less | General price list
H | r 1600
r 1700
Tank Park : order O'ring 15210

## 2900-PULSE
2900 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 2900 |  |  | 11-POWER CORD :
|  |  | H | r Terminal strip | General price list
r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  | H | r Less
| r Up Flow | General price list |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Hot water (except Up flow & eco ET) | General price list
| PULSE |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
|  |  | H | 1600/1650 r 3
|  |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
1700 r 3C r 4C r 5C r 6C
4-TIMER :
H | r Mechanical |  |  | 14-DLFC (GPM) :
| r Electronic ET |  | H | r 3,5 r 5,0 r 7,0
| r Less | General price list |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
|  |  |  | r 30,0 | General price list
| 5-METER : N/A |  |  | r Less | General price list
15-BLFC (GPM) :
|  |  | H | 1600/1650 r 0,50 r 1
| 6-PISTON : |  |  | 1700 : r 1,2 r 2,0 r 4,0 r 5,0
H | r Standard WBP
| r NBP |  |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : |  |  | 17-TOP DISTRIBUTOR :
| r Less | General price list | H | r 2" Standard
H | r 1600 |  |  | r Less | General price list
r 1700
18-COLOR : (Cover)
|  |  | H | r Grey
r Blue
r black
8-MIXING : N/A
19- COMMENTS :
9-VOLTAGE : 24 Volts
Tank Park : order O'ring 15210

## 2900-FILTRE
2900 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 8-MIXING : N/A
H | 560 CD seals
| 1-FAMILY: 2900 |  |  | 9-VOLTAGE : 24 Volts
| 2-VALVE TYPE : Filter | General price list |  | 10-FREQUENCY : 50 Hz
| 3-REGENERATION : |  |  | 11-POWER CORD :
| r Time clock 7 days |  |  | r Power cord without plug | General price list
H | r Time clock 12 days |  | H | r Transformer 230/24 V
r Econominder delayed
| r Econominder immediate |  |  | 12-MISCELLANEOUS OPTIONS :
| Duplex system 5 r 6 r 7 r | General price list | H | r Less
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 4-TIMER : |  |  | r Hot water (except Up flow, eco ET & eco SE) | General price list
H | r Mechanical
| r Electronic ET |  |  | 13-INJECT0R : N/A
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 3,5 r 5,0 r 7,0
|  |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| 5-METER : |  |  | r Less | General price list
H | r Less
r 1"½ - Brass 40 m3
| r 1"½ - Brass 200 m3 | General price list |  | 15-BLFC (GPM) : N/A
r 1"½ - Brass Electronic
r 2" - Brass 75 m3
| r 2" - Brass 375 m3 | General price list |  | 16-LABEL : Pictogram
r 2" - Brass Electronic
| r 2" - Plastic* 75 m3 | General price list
| r 2" - Plastic* 375 m3 | General price list |  | 17-TOP DISTRIBUTOR :
| r 2" - Plastic* Electronic | General price list | H | r 2" Standard
| * Not applicable on duplexes 6 & 7 |  |  | r Less | General price list
| 6-PISTON : |  |  | 18-COLOR : (Cover)
H | r Standard WBP |  | H | r Grey
| r NBP |  |  | r Blue
r black
| 7-BRINE VALVE : N/A |  |  | 19- COMMENTS :
Tank Park : order O'ring 15210

## 2910-Std
2910 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 8-MIXING : N/A
H | Elbow & 560 CD seals
9-VOLTAGE : 24 Volts
1-FAMILY: 2910
10-FREQUENCY : 50 Hz
2-VALVE TYPE :
H | r Down Flow |  |  | 11-POWER CORD :
| r Up Flow | General price list |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
3-REGENERATION :
| r Time clock 7 days |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Time clock 12 days |  | H | r Less
| r Econominder delayed |  |  | r Nickel plating | General price list
| r Econominder immediate |  |  | r Auxiliary microswitch | General price list
| Duplex system 5 r 6 r 7 r | General price list |  | r Hot water (except Up flow, eco ET & eco SE) | General price list
r Systemax 7 r 9 r ( #9 One meter per valve)
13-INJECTOR : (Up Flow : with pressure regulator)
| 4-TIMER : |  | H | 1600/1650 r 3
H | r Mechanical |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
| r Electronic ET |  |  | 1710 r 3C r 4C r 5C r 6C r 7C
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 3,5 r 5,0 r 7,0
|  |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| 5-METER : |  |  | r 30,0 | General price list
| r Less |  |  | r Less | General price list
r 1"½ - Brass 40 m3
| r 1"½ - Brass 200 m3 | General price list |  | 15-BLFC (GPM) :
| r 1"½ - Brass Electronic |  | H | 1600/1650 r 0,50 r 1
H | r 2" - Brass 75 m3 |  |  | 1710 : r 1,2 r 2,0 r 4,0 r 5,0
| r 2" - Brass 375 m3 | General price list
| r 2" - Brass Electronic |  |  | 16-LABEL : Pictogram
| r 2" - Plastic* 75 m3 | General price list
| r 2" - Plastic* 375 m3 | General price list |  | 17-TOP DISTRIBUTOR :
| r 2" - Plastic* Electronic | General price list | H | r 2" Standard
| * Not applicable on duplexes 6 & 7 |  |  | r Less | General price list
| 6-PISTON : |  |  | 18-COLOR : (Cover)
H | r Standard WBP |  | H | r Grey
| r NBP |  |  | r Blue
r black
| 7-BRINE VALVE : |  |  | 19- COMMENTS :
| r Less | General price list
H | r 1600
r 1710
Tank Park : order O'ring 15210

## 2910-PULSE
2910 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 2910 |  |  | 11-POWER CORD :
|  |  | H | r Terminal strip | General price list
r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  | H | r Less
| r Up Flow | General price list |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Hot water (except Up flow & eco ET) | General price list
| PULSE |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
|  |  | H | 1600/1650 r 3
|  |  |  | 1600 PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
1710 r 3C r 4C r 5C r 6C r 7C
4-TIMER :
H | r Mechanical |  |  | 14-DLFC (GPM) :
| r Electronic ET |  | H | r 3,5 r 5,0 r 7,0
| r Less | General price list |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
|  |  |  | r 30,0 | General price list
| 5-METER : N/A |  |  | r Less | General price list
15-BLFC (GPM) :
|  |  | H | 1600/1650 r 0,50 r 1
| 6-PISTON : |  |  | 1710 : r 1,2 r 2,0 r 4,0 r 5,0
H | r Standard WBP
| r NBP |  |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : |  |  | 17-TOP DISTRIBUTOR :
| r Less | General price list | H | r 2" Standard
H | r 1600 |  |  | r Less | General price list
r 1710
18-COLOR : (Cover)
|  |  | H | r Grey
r Blue
r black
8-MIXING : N/A
19- COMMENTS :
9-VOLTAGE : 24 Volts
Tank Park : order O'ring 15210

## 2910-FILTRE
2910 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 8-MIXING : N/A
H | 560 CD seals
| 1-FAMILY: 2910 |  |  | 9-VOLTAGE : 24 Volts
| 2-VALVE TYPE : Filter | General price list |  | 10-FREQUENCY : 50 Hz
| 3-REGENERATION : |  |  | 11-POWER CORD :
| r Time clock 7 days |  |  | r Power cord without plug | General price list
H | r Time clock 12 days |  | H | r Transformer 230/24 V
r Econominder delayed
| r Econominder immediate |  |  | 12-MISCELLANEOUS OPTIONS :
| Duplex system 5 r 6 r 7 r | General price list | H | r Less
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 4-TIMER : |  |  | r Hot water (except Up flow, eco ET & eco SE) | General price list
H | r Mechanical
| r Electronic ET |  |  | 13-INJECT0R : N/A
r Electronic NT
| r Electronic SE |  |  | 14-DLFC (GPM) :
| r Less | General price list | H | r 3,5 r 5,0 r 7,0
|  |  |  | r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0 | General price list
| 5-METER : |  |  | r 30 | General price list
H | r Less |  |  | r Less | General price list
r 1"½ - Brass 40 m3
| r 1"½ - Brass 200 m3 | General price list |  | 15-BLFC (GPM) : N/A
r 1"½ - Brass Electronic
r 2" - Brass 75 m3
| r 2" - Brass 375 m3 | General price list |  | 16-LABEL : Pictogram
r 2" - Brass Electronic
| r 2" - Plastic* 75 m3 | General price list
| r 2" - Plastic* 375 m3 | General price list |  | 17-TOP DISTRIBUTOR :
| r 2" - Plastic* Electronic | General price list | H | r 2" Standard
| * Not applicable on duplexes 6 & 7 |  |  | r Less | General price list
| 6-PISTON : |  |  | 18-COLOR : (Cover)
H | r Standard WBP |  | H | r Grey
| r NBP |  |  | r Blue
r black
| 7-BRINE VALVE : N/A |  |  | 19- COMMENTS :
Tank Park : order O'ring 15210

## 3150-Std
3150 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 7-BRINE VALVE :
H | 560 CD seals |  |  | r Less | General price list
|  |  | H | r 1800
1-FAMILY:
H | r 3150 Top Mount |  |  | 8-MIXING : N/A
r 3150 Side Mount
| 2-VALVE TYPE : |  |  | 9-VOLTAGE : 24 Volts
H | r Down Flow
| r Up Flow | General price list |  | 10-FREQUENCY : 50 Hz
| 3-REGENERATION : |  |  | 11-POWER CORD :
| r Time clock 7 days |  |  | r Power cord without plug | General price list
H | r Time clock 12 days |  | H | r Transformer 230/24 V
r Econominder delayed
| r Econominder immediate |  |  | 12-MISCELLANEOUS OPTIONS :
| Duplex system 5 r 6 r 7 r | General price list | H | r Less
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | r Hot water (except Up flow & econominder ET) | General price list
| 4-TIMER : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
H | r Mechanical |  |  | r 4 r 5 r 6 r 7 r 8 r 9 r 10
r Electronic ET
| r Electronic NT |  |  | 14-DLFC (GPM) :
| r Less | General price list |  | r 20,0 r 25,0 r 30,0 r 35,0 r 40,0 | General price list
|  |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
| 5-METER : |  |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
| r Less |  |  | r 95,0 r 100,0 | General price list
| r 1"½ - Brass 40 m3 |  | H | r Less
| r 1"½ - Brass 200 m3 | General price list
| r 1"½ - Brass Electronic |  |  | 15-BLFC (GPM) :
H | r 2" - Brass 75 m3 |  |  | r 5,0 r 7,0 r 10,0
| r 2" - Brass 375 m3 | General price list
| r 2" - Brass Electronic |  |  | 16-LABEL : Pictogram
| r 2" - Plastic* 75 m3 | General price list
| r 2" - Plastic* 375 m3 | General price list
| r 2" - Plastic* Electronic | General price list |  | 17-TOP DISTRIBUTOR : N/A
* Not applicable on duplexes 6 & 7
| 6-PISTON : |  |  | 18-COLOR : (Cover) GREY
H | r Standard WBP
| r NBP (except Up Flow) | General price list
19- COMMENTS :

## 3150-PULSE
3150 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | 560 CD seals
| 1-FAMILY: |  |  | 11-POWER CORD :
H | r 3150 Top Mount |  | H | r Terminal strip | General price list
| r 3150 Side Mount |  |  | r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  | H | r Less
| r Up Flow | General price list |  | r Hot water (except Up flow & econominder ET) | General price list
| 3-REGENERATION : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
r 4 r 5 r 6 r 7 r 8 r 9 r 10
PULSE
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  |  | r 20,0 r 25,0 r 30,0 r 35,0 r 40,0 | General price list
| r Electronic ET |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
| r Less | General price list |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
|  |  |  | r 95,0 r 100,0 | General price list
|  |  | H | r Less
| 5-METER : N/A |  |  | 15-BLFC (GPM) :
r 5,0 r 7,0 r 10,0
| 6-PISTON : |  |  | 16-LABEL : Pictogram
H | r Standard WBP
| r NBP (except Up Flow) | General price list
| 7-BRINE VALVE : |  |  | 17-TOP DISTRIBUTOR : N/A
| r Less | General price list
H | r 1800
| 8-MIXING : N/A |  |  | 18-COLOR : (Cover) GREY
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :

## 3150-FILTRE
3150 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 8-MIXING : N/A
H | 560 CD seals
| 1-FAMILY: |  |  | 9-VOLTAGE : 24 Volts
H | r 3150 Top Mount
| r 3150 Side Mount |  |  | 10-FREQUENCY : 50 Hz
| 2-VALVE TYPE : Filter | General price list |  | 11-POWER CORD :
|  |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 3-REGENERATION : |  |  | 12-MISCELLANEOUS OPTIONS :
| r Time clock 7 days |  | H | r Less
H | r Time clock 12 days |  |  | r Hot water (except econominder ET) | General price list
r Econominder delayed
| r Econominder immediate |  |  | 13-INJECT0R : N/A
| Duplex system 5 r 6 r 7 r | General price list
r Systemax 7 r 9 r ( #9 One meter per valve)
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
| r Electronic ET |  |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
| r Electronic NT |  |  | r 95,0 r 100,0 | General price list
| r Less | General price list | H | r Less
| 5-METER : |  |  | 15-BLFC (GPM) : N/A
H | r Less
r 1"½ - Brass 40 m3
| r 1"½ - Brass 200 m3 | General price list |  | 16-LABEL : Pictogram
r 1"½ - Brass Electronic
H | r 2" - Brass 75 m3
| r 2" - Brass 375 m3 | General price list |  | 17-TOP DISTRIBUTOR : N/A
r 2" - Brass Electronic
| r 2" - Plastic* 75 m3 | General price list
| r 2" - Plastic* 375 m3 | General price list |  | 18-COLOR : (Cover) GREY
| r 2" - Plastic* Electronic | General price list
* Not applicable on duplexes 6 & 7
19- COMMENTS :
6-PISTON :
H | r Standard WBP
| r NBP | General price list
7-BRINE VALVE : N/A

## 3900-Std
3900 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 9-VOLTAGE : 24 Volts
H | 560 CD seals
| 1-FAMILY: |  |  | 10-FREQUENCY : 50 Hz
H | r 3900 Top Mount (see Q12 (1) or (2))
| r 3900 Side Mount | General price list
| 2-VALVE TYPE : |  |  | 11-POWER CORD :
H | r Down Flow |  |  | r Power cord without plug | General price list
| r Up Flow | General price list | H | r Transformer 230/24 V
| 3-REGENERATION : |  |  | 12-MISCELLANEOUS OPTIONS :
| r Time clock 7 days |  |  | r Less
H | r Time clock 12 days |  |  | r Top mount threaded 6" (1)
| r Econominder delayed |  | H | r Top mount with flanges 6" (2)
r Econominder immediate
| Duplex system 5 r 6 r 7 r | General price list
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
r 4 r 5 r 6 r 7 r 8 r 9 r 10
| 4-TIMER : |  |  | 14-DLFC (GPM) :
H | r Mechanical |  |  | r 20,0 r 25,0 r 30,0 r 35,0 r 40,0 | General price list
| r Electronic ET |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
| r Electronic NT |  |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
| r Less | General price list |  | r 95,0 r 100,0 | General price list
|  |  | H | r Less
| 5-METER : |  |  | 15-BLFC (GPM) :
| r Less |  |  | r 5,0 r 7,0 r 10,0
H | r 3" - Brass 240 m3
| r 3" - Brass 1200 m3 | General price list |  | 16-LABEL : Pictogram
r 3" - Brass Electronic
| 6-PISTON : |  |  | 17-TOP DISTRIBUTOR : N/A for Side mount
H | r Standard WBP |  | H | r Flow disperser
| r NBP |  |  | r Less (deduction include in SM option) | General price list
| 7-BRINE VALVE : |  |  | 18-COLOR : (Cover) GREY
| r Less | General price list
H | r 1800
19- COMMENTS :
8-MIXING : N/A

## 3900-PULSE
3900 PULSE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | 560 CD seals
| 1-FAMILY: |  |  | 11-POWER CORD :
H | r 3900 Top Mount (see Q12 (1) or (2)) |  | H | r Terminal strip | General price list
| r 3900 Side Mount | General price list |  | r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  |  | r Less
| r Up Flow | General price list |  | r Top mount threaded 6" (1)
|  |  | H | r Top mount with flanges 6" (2)
| 3-REGENERATION : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
r 4 r 5 r 6 r 7 r 8 r 9 r 10
PULSE
14-DLFC (GPM) :
|  |  |  | r 20,0 r 25,0 r 30,0 r 35,0 r 40,0 | General price list
| 4-TIMER : |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
H | r Mechanical |  |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
| r Electronic ET |  |  | r 95,0 r 100,0 | General price list
| r Less | General price list | H | r Less
| 5-METER : N/A |  |  | 15-BLFC (GPM) :
r 5,0 r 7,0 r 10,0
| 6-PISTON : |  |  | 16-LABEL : Pictogram
H | r Standard WBP
r NBP
| 7-BRINE VALVE : |  |  | 17-TOP DISTRIBUTOR : N/A for Side mount
| r Less | General price list | H | r Flow disperser
H | r 1800 |  |  | r Less (deduction include in SM option) | General price list
| 8-MIXING : N/A |  |  | 18-COLOR : (Cover) GREY
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :

## 3900-FILTRE
3900 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | 560 CD seals
| 1-FAMILY: |  |  | 11-POWER CORD :
H | r 3900 Top Mount (see Q12 (1) or (2)) |  |  | r Power cord without plug | General price list
| r 3900 Side Mount | General price list | H | r Transformer 230/24 V
| 2-VALVE TYPE : Filter | General price list |  | 12-MISCELLANEOUS OPTIONS :
r Less
r Top mount threaded 6" (1)
| 3-REGENERATION : |  | H | r Top mount with flanges 6" (2)
r Time clock 7 days
H | r Time clock 12 days
| r Econominder delayed |  |  | 13-INJECT0R : N/A
r Econominder immediate
| Duplex system 5 r 6 r 7 r | General price list
| r Systemax 7 r 9 r ( #9 One meter per valve) |  |  | 14-DLFC (GPM) :
|  |  |  | r 45,0 r 50,0 r 55,0 r 60,0 r 65,0 | General price list
|  |  |  | r 70,0 r 75,0 r 80,0 r 85,0 r 90,0 | General price list
| 4-TIMER : |  |  | r 95,0 r 100,0 | General price list
H | r Mechanical |  | H | r Less
r Electronic ET
| r Electronic NT |  |  | 15-BLFC (GPM) : N/A
| r Less | General price list
| 5-METER : |  |  | 16-LABEL : Pictogram
H | r Less
r 3" - Brass 240 m3
| r 3" - Brass 1200 m3 | General price list |  | 17-TOP DISTRIBUTOR : N/A for Side mount
| r 3" - Brass Electronic |  | H | r Flow disperser
|  |  |  | r Less (deduction include in SM option) | General price list
| 6-PISTON : |  |  | 18-COLOR : (Cover) GREY
H | r Standard WBP
r NBP
| 7-BRINE VALVE : N/A |  |  | 19- COMMENTS :
8-MIXING : N/A
9-VOLTAGE : 24 Volts

## 4600-Std
4600 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | 11-1 r Standard European
H | Service / regeneration lights |  |  | 11-2r English | General price list
11-3r Italian
| 1-FAMILY: 4600 |  |  | 11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 2-VALVE TYPE : Down Flow |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Hot water (except 3/8" meter) | General price list
| r Time clock 7 days |  |  | r Less lights | General price list
r Time clock 12 days
H | r Econominder delayed |  |  | 13-INJECT0R :
| r Econominder immediate | General price list | H | r 000 r 00 r 0 r 1 r 2 r 3
|  |  |  | PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
4-TIMER : Mechanical
14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| 5-METER : |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| r Less |  |  | r Blank | General price list
| r 3/8" - 3,2 m3 | General price list
H | r 3/4" - 8 m3
| r 3/4" - 40 m3 | General price list |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
6-PISTON :
H | r Standard
| r LWU |  |  | 16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
7-BRINE VALVE : 1600
17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 8-MIXING : |  |  | r Narrow slotted (except hot water) - 0,20 mm slots
H | r Mixing |  |  | r Less | General price list
| r Less | General price list
18-COLOR : Black
9-VOLTAGE :
H | r 230 V (11-1 à 11-4)
| r 24 V (11-4 à 11-5) |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 4600-FILTRE
4600 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | 560 CD seals
H | Service / regeneration lights
| 1-FAMILY: 4600 |  |  | 11-POWER CORD :
|  |  | H | 11-1r Standard European
|  |  |  | 11-2r English | General price list
| 2-VALVE TYPE : Filter | General price list |  | 11-3r Italian
11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 3-REGENERATION : |  |  | 12-MISCELLANEOUS OPTIONS :
| r Time clock 7 days |  | H | r Less
H | r Time clock 12 days |  |  | r Nickel plating | General price list
| r Econominder delayed |  |  | r Auxiliary microswitch | General price list
| r Econominder immediate | General price list |  | r Hot water (except 3/8" meter) | General price list
|  |  |  | r Less lights | General price list
| 4-TIMER : Mechanical |  |  | 13-INJECT0R : N/A
| 5-METER : |  |  | 14-DLFC (GPM) :
H | r Less |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| r 3/8" - 3,2 m3 | General price list |  | r Blank | General price list
r 3/4" - 8 m3
| r 3/4" - 40 m3 | General price list |  | 15-BLFC (GPM) : N/A
| 6-PISTON : Standard |  |  | 16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
| 7-BRINE VALVE : N/A |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard filter - 0,50 mm slots (except hot water 0,28)
|  |  |  | r Less | General price list
| 8-MIXING : N/A | General price list |  | 18-COLOR : Black
| 9-VOLTAGE : |  |  | 19- COMMENTS :
H | r 230 V (11-1 à 11-4)
r 24 V (11-4 à 11-5)

## 4600-FR
4600 FAST REGEN
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | 11-1r Standard European
H | Service / regeneration lights |  |  | 11-2r English | General price list
11-3r Italian
| 1-FAMILY: 4600 |  |  | 11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 2-VALVE TYPE : Fast Regen |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 3-REGENERATION : |  |  | r Auxiliary microswitch | General price list
| r Time clock 7 days |  |  | r Hot water (except 3/8" meter) | General price list
| r Time clock 12 days |  |  | r Less lights | General price list
H | r Econominder delayed
| r Econominder immediate | General price list |  | 13-INJECT0R :
|  |  | H | r 000 r 00 r 0 r 1 r 2
| 4-TIMER : Mechanical |  |  | PVC r 0 r 1 r 2 (except hot water) | General price list
| 5-METER : |  |  | 14-DLFC (GPM) :
| r Less |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| r 3/8" - 3,2 m3 | General price list |  | r 2,4 r 3,0 r 3,5
H | r 3/4" - 8 m3 |  |  | r Blank | General price list
| r 3/4" - 40 m3 | General price list
15-BLFC (GPM) :
| 6-PISTON : LWU |  |  | r 0,12 r 0,25 r 0,50
16-LABEL :
| 7-BRINE VALVE : 1600 |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
| 8-MIXING : |  |  | 17-TOP DISTRIBUTOR :
H | r Mixing |  | H | r Standard softener - 0,28 mm slots
| r Less | General price list |  | r Narrow slotted (except hot water) - 0,20 mm slots
|  |  |  | r Less | General price list
9-VOLTAGE :
H | r 230 V (11-1 à 11-4) |  |  | 18-COLOR : Black
r 24 V (11-4 à 11-5)
| 10-FREQUENCY : 50 Hz |  |  | 19- COMMENTS :

## 4600 SE
4600 SE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 4600 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 2-VALVE TYPE : |  |  | r Auxiliary microswitch | General price list
H | r Down Flow |  |  | r Hot water (except econominder) | General price list
r Down Flow Double Backwash
| 3-REGENERATION : |  |  | 13-INJECT0R :
| r Time clock |  | H | r 000 r 00 r 0 r 1 r 2 r 3
H | r Econominder |  |  | PVC r 0 r 1 r 2 r 3 (except hot water) | General price list
| 4-TIMER : SE |  |  | 14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| 5-METER : |  |  | r Blank | General price list
r Less
H | r 3/4" - Electronic (Turbine) |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
6-PISTON : Standard
16-LABEL :
|  |  | H | r Standard pictogram
| 7-BRINE VALVE : 1600 |  |  | r Personalized | Customer price list
17-TOP DISTRIBUTOR :
| 8-MIXING : |  | H | r Standard softener - 0,28 mm slots
H | r Mixing |  |  | r Narrow slotted (except hot water) - 0,20 mm slots
| r Less | General price list |  | r Less | General price list
| 9-VOLTAGE : 24 Volts |  |  | 18-COLOR : Black
| 10-FREQUENCY : 50 Hz |  |  | 19- COMMENTS :

## 4600 SE FILTRE
4600 SE FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 4600 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 2-VALVE TYPE : |  |  | r Auxiliary microswitch | General price list
H | r Filter Standard | General price list |  | r Hot water (except econominder) | General price list
| r Filter Double backwash | General price list
| 3-REGENERATION : |  |  | 13-INJECT0R : N/A
H | r Time clock
r Econominder
14-DLFC (GPM) :
|  |  | H | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| 4-TIMER : SE |  |  | r Blank | General price list
| 5-METER : |  |  | 15-BLFC (GPM) : N/A
H | r Less
r 3/4" - Electronic (Turbine)
16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
6-PISTON : Standard
17-TOP DISTRIBUTOR :
|  |  | H | r Standard filter - 0,50 mm slots (except hot water 0,28)
| 7-BRINE VALVE : N/A |  |  | r Less | General price list
| 8-MIXING : N/A |  |  | 18-COLOR : Black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz
CLIENT :

## 5000-SE
5000 SE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 5000 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 2-VALVE TYPE : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
H | r Down Flow |  |  | r 000 r 00 r 0 r 1 r 2 r 3
| r Up Flow | General price list
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| r Time clock |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
H | r Econominder |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
r 7,0
|  |  |  | r Blank | General price list
| 4-TIMER : SE |  |  | r Less | General price list
15-BLFC (GPM) :
| 5-METER : |  |  | r 0,12 r 0,25 r 0,50
r Less
H | r 3/4" - Electronic (Turbine)
16-LABEL :
| 6-PISTON : Standard |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
| 7-BRINE VALVE : 1600 |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 8-MIXING : |  |  | r Less | General price list
H | r Mixing
| r Less | General price list |  | 18-COLOR : Black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 5000-SE FILTRE
5000 SE FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 5000 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 2-VALVE TYPE : Filter | General price list |  | 13-INJECT0R : N/A
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
H | r Time clock |  |  | r 2,4 r 3,5 r 4,0 r 5,0 r 7,0
| r Econominder |  |  | r 9,0 r 10 r 12 r 15 | General price list
|  |  |  | r Blank | General price list
|  |  |  | r Less | General price list
| 4-TIMER : SE |  |  | 15-BLFC (GPM) : N/A
| 5-METER : |  |  | 16-LABEL :
H | r Less |  | H | r Standard pictogram
| r 3/4" - Electronic (Turbine) |  |  | r Personalized | Customer price list
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard filter - 0,50 mm slots
|  |  |  | r Less | General price list
7-BRINE VALVE : N/A
18-COLOR : Black
8-MIXING : N/A
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 5600-Std
5600 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | 11-1 r Standard European
H | Service / regeneration lights |  |  | 11-2r English | General price list
11-3r Italian
| 1-FAMILY: 5600 |  |  | 11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  | H | r Less
| r Up Flow | General price list |  | r Auxiliary microswitch | General price list
|  |  |  | r Less lights | General price list
3-REGENERATION :
| r Time clock 7 days |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
| r Time clock 12 days |  | H | r 000 r 00 r 0 r 1 r 2 r 3
H | r Econominder delayed |  |  | PVC r 0 r 1 r 2 r 3 | General price list
| r Econominder immediate | General price list
| 4-TIMER : Mechanical |  |  | 14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| 5-METER : |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| r Less |  |  | r Blank | General price list
| r 3/8" - 3,2 m3 | General price list
H | r 3/4" - 8 m3 |  |  | 15-BLFC (GPM) :
| r 3/4" - 40 m3 | General price list |  | r 0,12 r 0,25 r 0,50 r 1,0
| 6-PISTON : |  |  | 16-LABEL :
H | r Standard |  | H | r Standard pictogram
| r LWU (except Up Flow) |  |  | r Personalized | Customer price list
| 7-BRINE VALVE : 1600 |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 8-MIXING : |  |  | r Narrow slotted - 0,20 mm slots
H | r Mixing |  |  | r Less | General price list
| r Less | General price list
18-COLOR : Black
9-VOLTAGE :
H | r 230 V (11-1 à 11-4)
| r 24 V (11-4 à 11-5) |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 5600-FILTRE
5600 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-CORDON :
H | 560 CD seals |  | H | 11-1 r Standard European
H | Service / regeneration lights |  |  | 11-2r English | General price list
11-3r Italian
| 1-FAMILY: 5600 |  |  | 11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 2-VALVE TYPE : Filter | General price list |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Less lights | General price list
r Time clock 7 days
H | r Time clock 12 days
| r Econominder delayed |  |  | 13-INJECT0R : N/A
| r Econominder immediate | General price list
| 4-TIMER : Mechanical |  |  | 14-DLFC (GPM) :
|  |  | H | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0 r 7,0
|  |  |  | r Blank | General price list
5-METER :
H | r Less
| r 3/8" - 3,2 m3 | General price list |  | 15-BLFC (GPM) : N/A
r 3/4" - 8 m3
| r 3/4" - 40 m3 | General price list
16-LABEL :
| 6-PISTON : Standard |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
17-TOP DISTRIBUTOR :
| 7-BRINE VALVE : N/A |  | H | r Standard filter - 0,50 mm slots
|  |  |  | r Less | General price list
8-MIXING : N/A
18-COLOR : Black
9-VOLTAGE :
H | r 230 V (11-1 à 11-4) |  |  | 19- COMMENTS :
r 24 V (11-4 à 11-5)
10-FREQUENCY : 50 Hz

## 5600-FR
5600 FAST REGEN
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  | H | 11-1 r Standard European
H | Service / regeneration lights |  |  | 11-2r English | General price list
11-3r Italian
| 1-FAMILY: 5600 |  |  | 11-4r Power cord without plug
|  |  |  | 11-5r Transformer 230/24 V | General price list
| 2-VALVE TYPE : Fast Regen |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Less lights | General price list
r Time clock 7 days
| r Time clock 12 days |  |  | 13-INJECTOR :
H | r Econominder delayed |  | H | r 000 r 00 r 0 r 1 r 2
| r Econominder immediate | General price list |  | PVC r 0 r 1 r 2 | General price list
| 4-TIMER : Mechanical |  |  | 14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
r 2,4 r 3,0 r 3,5
| 5-METER : |  |  | r Blank | General price list
r Less
| r 3/8" - 3,2 m3 | General price list |  | 15-BLFC (GPM) :
H | r 3/4" - 8 m3 |  |  | r 0,12 r 0,25 r 0,50
| r 3/4" - 40 m3 | General price list
| 6-PISTON : LWU |  |  | 16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
7-BRINE VALVE : 1600
17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 8-MIXING : |  |  | r Narrow slotted - 0,20 mm slots
H | r Mixing |  |  | r Less | General price list
| r Less | General price list
18-COLOR : Black
9-VOLTAGE :
H | r 230 V (11-1 à 11-4)
| r 24 V (11-4 à 11-5) |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 5600 SE
5600 SE
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 5600 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 2-VALVE TYPE : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
H | r Down Flow |  | H | r 000 r 00 r 0 r 1 r 2 r 3
| r Down Flow Double Backwash |  |  | PVC r 0 r 1 r 2 r 3 | General price list
| r Up Flow | General price list
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| r Time clock |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
H | r Econominder |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
|  |  |  | r Blank | General price list
| 4-TIMER : SE |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
| 5-METER : |  |  | 16-LABEL :
| r Less |  | H | r Standard pictogram
H | r 3/4" - Electronic (Turbine) |  |  | r Personalized | Customer price list
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Less | General price list
| 8-MIXING : |  |  | 18-COLOR : Black
H | r Mixing
| r Less | General price list
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 5600 SE-FILTRE
5600 SE FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 5600 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
2-VALVE TYPE :
H | r Filter Standard | General price list |  | 13-INJECT0R : N/A
| r Filter Double backwash | General price list
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
H | r Time clock |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0 r 7,0
| r Econominder |  |  | r Blank | General price list
| 4-TIMER : SE |  |  | 15-BLFC (GPM) : N/A
| 5-METER : |  |  | 16-LABEL :
H | r Less |  | H | r Standard pictogram
| r 3/4" - Electronic (Turbine) |  |  | r Personalized | Customer price list
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard filter - 0,50 mm slots
|  |  |  | r Less | General price list
7-BRINE VALVE : N/A
| 8-MIXING : N/A |  |  | 18-COLOR : Black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz
CLIENT :
Date :

## 5665-CRI
5665 CRI
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD : Transformer
H | Elbow & 560 CD seals
H | Desinfection / salt pilot lights
H | Chlorinator |  |  | 12-MISCELLANEOUS OPTIONS : Less
H | White drive housing
H | 4 days override ( except 5665 C)
H | Anti-backflow |  |  | 13-INJECTOR : (With pressure regulator)
|  |  | H | r 000 r 00 r 0 r 1 r 2
| 1-FAMILY: 5665 |  |  | PVC r 0 r 1 r 2 r 3 | General price list
2-VALVE TYPE : Up Flow
14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| 3-REGENERATION : |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| r Time clock 7 days |  |  | r Blank | General price list
r Time clock 12 days
H | r Econominder delayed
| r Econominder immediate | General price list |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
4-TIMER : Mechanical
| 5-METER : |  |  | 16-LABEL :
| r Less |  | H | r Standard pictogram
H | r 3/4" - 8 m3 |  |  | r Personalized | Customer price list
| r 3/4" - 40 m3 | General price list
| 6-PISTON : Standard |  |  | 12-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Less | General price list
18-COLOR : White
8-MIXING :
19- COMMENTS :
9-VOLTAGE : 24 Volts
10-FREQUENCY : 50 Hz

## 6600-Std
6600 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 6600 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 2-VALVE TYPE : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
H | r Down Flow |  | H | r 0000 r 000 r 00 r 0 r 1 r 2 r 3
| r Down Flow Double Backwash |  |  | PVC r 0 r 1 r 2 r 3 | General price list
| r Up Flow | General price list
r Up Flow & variable brining (econominder only)
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| r Time clock |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
H | r Econominder |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
|  |  |  | r Blank | General price list
| 4-TIMER : Electronic |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
| 5-METER : |  |  | 16-LABEL :
| r Less |  | H | r Standard pictogram
H | r 3/4" - Electronic |  |  | r Personalized | Customer price list
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Narrow slotted - 0,20 mm slots
|  |  |  | r Less | General price list
| 8-MIXING : |  |  | 18-COLOR : Black
H | r Mixing
| r Less | General price list
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 6665
6665 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD : Transformer
H | Elbow & 560 CD seals
H | Salt pilot light
H | Chlorinator |  |  | 12-MISCELLANEOUS OPTIONS : Less
H | Anti-backflow
| 1-FAMILY: 6665 |  |  | 13-INJECTOR : (With pressure regulator)
|  |  | H | r 0000 r 000 r 00 r 0 r 1 r 2
|  |  |  | PVC r 0 r 1 r 2 | General price list
2-VALVE TYPE : Up Flow
H | r Up Flow
| r Up Flow DVGW |  |  | 14-DLFC (GPM) :
r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| 3-REGENERATION : |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
| Econominder |  |  | r Blank | General price list
| 4-TIMER : Electronic |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50
| 5-METER : Electronic |  |  | 16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
6-PISTON : Standard
17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Narrow slotted - 0,20 mm slots
|  |  |  | r Less | General price list
| 8-MIXING : Mixing |  |  | 18-COLOR : Black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz
To order a 6665 DVGW valve, you must choose an injector n° 0000, a DLFC 1,2 GPM and a BLFC 0,25 GPM

## 6700
6700 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24
| 1-FAMILY: 6700 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Auxiliary microswitch | General price list
| 2-VALVE TYPE : |  |  | 13-INJECTOR : (Up Flow : with pressure regulator)
H | r Down Flow |  |  | r 0000 r 000 r 00 r 0 r 1 r 2 r 3
r Down Flow Double Backwash
| r Up Flow | General price list
r Up Flow & variable brining (econominder only)
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| r Time clock |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
H | r Econominder |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
|  |  |  | r Blank | General price list
| 4-TIMER : Electronic |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50 r 1,0
| 5-METER : |  |  | 16-LABEL :
| r Less |  | H | r Standard pictogram
H | r 3/4" - Electronic |  |  | r Personalized | Customer price list
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Narrow slotted - 0,20 mm slots
|  |  |  | r Less | General price list
| 8-MIXING : |  |  | 18-COLOR :
H | r Mixing |  | H | r Black/smoked
| r Less | General price list |  | r Blue
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 6765
6765 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD : Transformer
H | Elbow & 560 CD seals
H | Chlorinator
H | Anti-backflow |  |  | 12-MISCELLANEOUS OPTIONS : Less
| 1-FAMILY: 6765 |  |  | 13-INJECTOR : (With pressure regulator)
r 0000 r 000 r 00 r 0 r 1 r 2
| 2-VALVE TYPE : Up Flow |  |  | 14-DLFC (GPM) :
H | r Up Flow |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
| r Up Flow DVGW |  |  | r 2,4 r 3,0 r 3,5 r 4,0 r 5,0
|  |  |  | r Blank | General price list
| 3-REGENERATION : |  |  | 15-BLFC (GPM) :
| Econominder |  |  | r 0,12 r 0,25 r 0,50
| 4-TIMER : Electronic |  |  | 16-LABEL :
|  |  | H | r Standard pictogram
|  |  |  | r Personalized | Customer price list
5-METER : Electronic
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Less | General price list
| 8-MIXING : |  |  | 18-COLOR :
H | r Mixing |  | H | r Black/smoked
| r Less | General price list |  | r Blue
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 6766
6766 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
H | Chlorinator
H | Anti-backflow |  |  | 11-POWER CORD : Transformer
| 1-FAMILY: 6766 |  |  | 12-MISCELLANEOUS OPTIONS : Less
| 2-VALVE TYPE : Up Flow |  |  | 13-INJECTOR : (With pressure regulator)
r 0000 r 000 r 1
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| Econominder |  |  | r 1,2 r 2,0
| 4-TIMER : Electronic |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50
| 5-METER : Electronic |  |  | 16-LABEL : Pictogram
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Less | General price list
| 8-MIXING : Less | General price list |  | 18-COLOR :
|  |  | H | r Black / smoked
r Blue
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :

## 7700 Std
7700 STANDARD
|  | Customer : …………...……….……..….…….. | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 7700 |  | 11-POWER CORD : Transformer 230/24 50 Hz
| 2-VALVE TYPE : |  | 12-MISCELLANEOUS OPTIONS : N/A
Down Flow
| 3-REGENERATION : |  | 13-INJECTOR :
| þ Time clock |  | r 0 r 1 r 2 þ 3
| r Econominder |  | r 4 r 5 | General price list
| 4-TIMER : Electronic |  | 14-DLFC (GPM) :
r 1,5 r 2,4 r 3,5 þ 5,0 r 7,0
|  |  | r Empty | General price list
| 5-METER : |  | 15-BLFC (GPM) :
| þ Less |  | r 0,25 þ 0,50 r 1
| r Electronic |  | r Empty
| 6-PISTON : Standard |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : 1600 |  | 17-TOP DISTRIBUTOR :
þ Standard softener 1"05 - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
|  |  | r Less | General price list
| 8-MIXING : Mixing |  | 18-COLOR : Grey
| 9-VOLTAGE : 24 Volts |  | 19- COMMENTS :

## 7700 HF
7700 HIGH FLOW
|  | Customer : …………...……….……..….…….. | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 7700 |  | 11-POWER CORD : Transformer 230/24 50 Hz
| 2-VALVE TYPE : |  | 12-MISCELLANEOUS OPTIONS : N/A
High Flow
| 3-REGENERATION : |  | 13-INJECTOR :
| þ Time clock |  | r 0 r 1 r 2 r 3
| r Econominder |  | r 4 þ 5 | General price list
| 4-TIMER : Electronic |  | 14-DLFC (GPM) :
r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
r 9,0 þ 10,0 r 12,0 r 15,0
|  |  | r Empty | General price list
| 5-METER : |  | 15-BLFC (GPM) :
| þ Less |  | r 0,25 r 0,50 þ 1
| r Electronic |  | r Empty
| 6-PISTON : High Flow |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : 1600 |  | 17-TOP DISTRIBUTOR :
þ Standard softener 32mm - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
|  |  | r Less | General price list
| 8-MIXING : N/A |  | 18-COLOR : Grey
| 9-VOLTAGE : 24 Volts |  | 19- COMMENTS :

## 7700 Filter
7700 FILTER
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
H | Auxiliary microswitch
| 1-FAMILY: 7700 |  |  | 11-POWER CORD : Transformer 230/24 50 Hz
| 2-VALVE TYPE : Filter |  |  | 12-MISCELLANEOUS OPTIONS : N/A
| 3-REGENERATION : Timeclock |  |  | 13-INJECTOR : N/A
| 4-TIMER : Electronic |  |  | 14-DLFC (GPM) :
|  |  | H | r 1,5 r 2,4 r 3,5 r 5,0 r 7,0
r 9,0 r 10,0 r 12,0 r 15,0 r 20,0 r 25,0
|  |  |  | r Empty | General price list
| 5-METER : Less |  |  | 15-BLFC (GPM) : N/A
| 6-PISTON : Standard |  |  | 16-LABEL : Pictogram
| 7-BRINE VALVE : N/A |  |  | 17-TOP DISTRIBUTOR :
|  |  | H | r Standard filter 1"05 - 0,50 mm slots
|  |  |  | r Less | General price list
| 8-MIXING : N/A |  |  | 18-COLOR : Grey
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :

## 8500
8500 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 8500 |  |  | 12-MISCELLANEOUS OPTIONS :
r 6" - 8" tank adapter
|  |  | H | r 9" - 10" tank adapter
| 2-VALVE TYPE : Down Flow |  |  | 13-INJECT0R :
r 00 r 0 r 1 r 2
| 3-REGENERATION : |  |  | 14-DLFC (GPM) :
| Econominder immédiate |  |  | r 0,8 r 1,0 r 1,2 r 1,5 r 2,0
r 2,4
|  |  |  | r Blank | General price list
| 4-TIMER : SE |  |  | 15-BLFC (GPM) :
r 0,12 r 0,25 r 0,50
| 5-METER : 3/4" - Electronic (Turbine SE) |  |  | 16-LABEL : Pictogram
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR (x2):
|  |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Less | General price list
| 8-MIXING : |  |  | 18-COLOR : Black
H | r Mixing
| r Less | General price list
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 9000-Std
9000 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
11-POWER CORD :
| 1-FAMILY: 9000 |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  | H | r Less
| r Up Flow | General price list |  | r Nickel plating | General price list
|  |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | r Hot water (except eco ET & eco SE) | General price list
Econominder immediate
| 4-TIMER : |  |  | 13-INJECT0R :
H | r Mechanical 9000 |  |  | r 0 r 1 r 2 r 3
r Electronic 3200 ET
| r Electronic SE |  |  | 14-DLFC (GPM) :
|  |  | H | r 1,2 r 1,5 r 2,4 r 3,5 r 4,0 r 5,0 r 7,0
r Blank
5-METER :
| r 3/8" - 3,2 m3 | General price list |  | 15-BLFC (GPM) :
H | r 3/4" - 8 m3 |  |  | r 0,25 r 0,50 r 1,0
| r 3/4" - 40 m3 | General price list
| r 3/4" - Electronic |  |  | 16-LABEL : Pictogram
r 1" - 20 m3
| r 1" - 100 m3 | General price list
| r 1" - Electronic (ET) |  |  | 17-TOP DISTRIBUTOR (x2):
|  |  | H | r Standard softener - 0,28 mm slots
| 6-PISTON : Standard |  |  | r Narrow slotted (except hot water) - 0,20 mm slots
|  |  |  | r Less | General price list
| 7-BRINE VALVE : 1600 |  |  | 18-COLOR : Black
| 8-MIXING : N/A |  |  | 19- COMMENTS :
9-VOLTAGE : 24 Volts

## 9000-6
9000/6 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 11-POWER CORD :
H | Elbow & 560 CD seals |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 1-FAMILY: 9006 |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 2-VALVE TYPE : Down Flow |  |  | r Auxiliary microswitch | General price list
| 3-REGENERATION : |  |  | 13-INJECTOR : (With pressure regulator) 000
Econominder immédiate
14-DLFC (GPM) : 1,2
4-TIMER : SE
15-BLFC (GPM) : 0,25
5-METER : 3/8"
16-LABEL : Pictogram
| 6-PISTON : Standard |  |  | 17-TOP DISTRIBUTOR (x2):
|  |  | H | r Standard softener - 0,28 mm slots
| 7-BRINE VALVE : 1600 |  |  | r Narrow slotted - 0,20 mm slots
|  |  |  | r Less | General price list
| 8-MIXING : N/A |  |  | 18-COLOR : Black
| 9-VOLTAGE : 24 Volts |  |  | 19- COMMENTS :
10-FREQUENCY : 50 Hz

## 9100
9100 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
| 1-FAMILY: 9100 |  |  | 11-POWER CORD :
|  |  |  | r Power cord without plug |  | General price list
|  |  | H | r Transformer 230/24 V
| 2-VALVE TYPE : |  |  | 12-MISCELLANEOUS OPTIONS :
H | r Down Flow |  |  | r Connecting tubes 7" | Or bottle size :
| r Up Flow | General price list |  | r Connecting tubes 9" | -----------------------
r Connecting tubes 12"
r Connecting tubes 16"
| 3-REGENERATION : |  |  | 12-MISCELLANEOUS OPTIONS :
| Econominder immediate |  |  | r Auxiliary microswitch |  | General price list
| 4-TIMER : |  |  | 13-INJECT0R :
H | r Mechanical 9000 |  |  | r 0 r 1 r 2 r 3
r Electronic SE
| r Electronic ET |  |  | 14-DLFC (GPM) :
|  |  | H | r 1,2 r 1,5 r 2,4 r 3,5 r 4,0 r 5,0 r 7,0
r Blank
| 5-METER : |  |  | 15-BLFC (GPM) :
| r 3/8" - 3,2 m3 | General price list |  | r 0,25 r 0,50 r 1,0
H | r 3/4" - 8 m3
| r 3/4" - 40 m3 | General price list |  | 16-LABEL : Pictogram
r 3/4" - Electronic
r 1" - 20 m3
| r 1" - 100 m3 | General price list |  | 17-TOP DISTRIBUTOR (x2):
| r 1" - Electronic (ET only) |  | H | r Standard softener - 0,28 mm slots
r Narrow slotted - 0,20 mm slots
| 6-PISTON : Standard |  |  | r Less |  | General price list
| 7-BRINE VALVE : 1600 |  |  | 18-COLOR : Black
| 8-MIXING : N/A |  |  | 19- COMMENTS :
9-VOLTAGE : 24 Volts

## 9500-Std
9500 STANDARD
|  | Customer : …………...……….……..….…….. |  | Date : …………...……….……..….……..
|  | Order nr : …………...……….……..….…….. |  | Quantity : …………...……….……..….……..
ORDERING GUIDE FOR STANDARD VALVES
| O-GENERALITIES: Are included |  |  | 10-FREQUENCY : 50 Hz
H | Elbow & 560 CD seals
11-POWER CORD :
| 1-FAMILY: 9500 |  |  | r Power cord without plug | General price list
|  |  | H | r Transformer 230/24 V
| 2-VALVE TYPE : Down Flow |  |  | 12-MISCELLANEOUS OPTIONS :
|  |  | H | r Less
|  |  |  | r Nickel plating | General price list
| 3-REGENERATION : |  |  | r Auxiliary microswitch | General price list
| Econominder immédiate |  |  | r Hot water (except eco ET & eco SE) | General price list
| 4-TIMER : |  |  | 13-INJECT0R :
H | r Mechanical 9000 |  | H | 1600 r 2 r 3
| r Electronic 3200 ET |  |  | 1700 r 3C r 4C r 5C
r Electronic SE
14-DLFC (GPM) :
|  |  | H | r 3,5 r 5,0 r 7,0 r10,0
| 5-METER : |  |  | r 12,0 r 15,0 r 20,0 r25,0
| r 1" - 20 m3 |  |  | r Less | General price list
| r 1" - 100 m3 | General price list
| r 1" - Electronic |  |  | 15-BLFC (GPM) :
H | r 1"½ - 40 m3 |  | H | 1600 r 0,50 r 1,0
| r 1"½ - 200 m3 | General price list |  | 1700 r 1,2 r 2,0
r 1"½ - Electronic
16-LABEL : Pictogram
6-PISTON : Standard
17-TOP DISTRIBUTOR (x2):
|  |  | H | r 2" Standard
| 7-BRINE VALVE : |  |  | r Less | General price list
| r Less | General price list
H | r 1600 |  |  | 18-COLOR : Black
r 1700
| 8-MIXING : N/A |  |  | 19- COMMENTS :
9-VOLTAGE : 24 Volts